## Madhavaram Milk Colony station
Room Code | Room Name | Category | DLT 10 Line | DLT 20 Line | Feature IP | IP phone | ECB at Platform
A-01 | SCR | CONCOURSE |  | 1 | 1
A-02 | EFO/TOM | CONCOURSE |  |  |  | 1
C-01 | SIGNALING EQP.ROOM | CONCOURSE | 1 |  |  | 1
C-02 | COMM. EQP. ROOM | CONCOURSE | 1 |  |  | 1
M-01.1 | TVF ROOM 1 | CONCOURSE |  |  |  | 1
M-02 | MECHANICAL EQ. ROOM | CONCOURSE |  |  |  | 1
M-03 | PUMP ROOM | CONCOURSE
M-01.3 | TVS PANEL/ D.B ROOM-3 | CONCOURSE |  |  |  | 1
O-05 | SECURITY ROOM | CONCOURSE
O-06 | LUNCH+LOCKER ROOM | CONCOURSE
O-07 | FIREMEN STORE ROOM | CONCOURSE
O-08 | JANITOR ROOM | CONCOURSE
P-01.1 | ASS ROOM-01 | CONCOURSE | 1 |  |  | 1
P-01.2 | ASS ROOM-02 | CONCOURSE | 1 |  |  | 1
P-02 | UPS ROOM | CONCOURSE | 1
P-05 | BATTERY ROOM | CONCOURSE
C-03.1 | TELECOMMUNICATION CLOSET |  |  |  |  | 1
C-03.2 | TELECOMMUNICATION CLOSET |  |  |  |  | 1
M-04.l | SEWAGE SUMP/PUMP
M-04.2 | SEEPAGE SUMP/PUMP
P-03.1 | DB ROOM l |  | 1
P-03.2 | DB ROOM 2 |  | 1
Total
CLOSET FOR GAS CYLINDER
M-03 | FWT-01
M-03 | FWT-02
M-03 | DWT-01
M-03 | DWT-02
O-01.1 | PLATFORM
O-01.2 | CONCOURSE PAID AREA
O-02 | UNPAID AREA
O-03 | PASSAGEWAYS
O-04.1 | TOILET (M)
O-04.2 | TOILET (F)
O-04.3 | TOILET (H)
O-09 | BOH CORRIDOR
PUBLIC STAIRCASE
FIREMEN STAIRCASE
FIRE ESCAPE STAIRCASE
D-01.1 | TVS/RELIEF PLENUM-01
D-01.2 | TVS/RELIEF PLENUM-02
D-01.3 | TVS/RELIEF PLENUM-03
D-03.1 | PLUMBING SHAFT
D-03.2 | PLUMBING & F.F SHAFT
D-03.3 | PLUMBING SHAFT
D-03.4 | PLUMBING SHAFT
D-04.1 | ELECTRICAL SHAFT
D-04.2 | ELECTRICAL SHAFT
D-05.1 | S & T / BMS SHAFT
D-05.2 | S & T / BMS SHAFT
D-06.1 | HT SHAFT-01
D-06.2 | HT SHAFT-02
D-07.1 | PRESSURIZATION SHAFT
D-07.2 | PRESSURIZATION SHAFT

## Retteri Junction Metro
Room Code | Room Name | Category | DLT 10 Line | DLT 20 Line | Feature IP | IP phone | ECB at Platform
A-01 | SCR | CONCOURSE |  | 1 | 1
A-02.1 / A-03.1 / A-04.1 | EFO / TICKET OFFICE / TVM | CONCOURSE |  |  |  | 1
A-02.2 / A-03.2 / A-04.2 | EFO / TICKET OFFICE / TVM | CONCOURSE |  |  |  | 1
O-11 | JANITOR'S ROOM
P-01.1, P-02.1 & P-05.1 | AUXILIARY SUB STATION |  | 1 |  |  | 1
P-01.2, P-02.2 & P-05.2 | AUXILIARY SUB STATION |  | 1 |  |  | 1
P-03 | UPS ROOM |  | 1
Total
P-08 | TRACTION ROOM
ACCESS HATCH | ACCESS HATCH
C-03 | TELECOM EQUIPMENT ROOM
CONNECTING CORRIDOR | CONNECTING CORRIDOR
CONNECTING CORRIDOR
CORRIDOR | PLATFORM CORRIDOR
ES-01 | ENTRY STRUCTURE
ES-02 | ENTRY STRUCTURE
O-02 | PAID AREA
O-03 | UNPAID AREA
O-03 | UNPAID AREA
O-08F | TOILET (FEMALE)
O-08M | TOILET (MALE)
O-09 | TOILET (H)
O-13 | STAFF ROOM
O-14 | REFUSE ROOM
O-22.1 | PLATFORM-A
O-22.2 | PLATFORM-B
O-28 | STORE ROOM

## Perambur Metro
Room Code | Room Name | Category | DLT 10 Line | DLT 20 Line | Feature IP | IP phone | ECB at Platform
A-01 | SCR | CONCOURSE |  | 1 | 1
A-02 | EFO/TOM | CONCOURSE |  |  |  | 1
C-01 | SIGNALING EQP.ROOM | CONCOURSE | 1 |  |  | 1
C-02 | COMMUNICATION EQ. ROOM | CONCOURSE | 1 |  |  | 1
M-01.1 | TVF ROOM 1 | CONCOURSE
M-02 | MECHANICAL EQ. ROOM | CONCOURSE |  |  |  | 1
M-01.3 | TVS PANEL/ D.B ROOM-3 | CONCOURSE
O-08 | JANITOR ROOM | CONCOURSE
P-01.1 | ASS ROOM-01 | CONCOURSE | 1 |  |  | 1
P-01.2 | ASS ROOM-02 | CONCOURSE | 1 |  |  | 1
P-02 | UPS ROOM | CONCOURSE | 1
C-03.1 | TELECOMMUNICATION CLOSET |  |  |  |  | 1
C-03.2 | TELECOMMUNICATION CLOSET |  |  |  |  | 1
PUMP ROOM
M-04.1 | SEWAGE SUMP/PUMP
M-04.2 | SEEPAGE SUMP/PUMP
O-05 | SECURITY ROOM |  |  |  |  | 1
O-06 | LUNCH+LOCKER ROOM
O-07 | FIREMEN STORE ROOM
P-03.1 | DB ROOM 1 |  | 1
P-03.2 | DB ROOM 2 |  | 1
P-05 | BATTERY ROOM
Total
FWT-01
M-03 | FWT-02
DWT-01
DWT-02
0-01.1 | PLATFORM
0-01.2 | CONCOURSE PAID AREA
0-02 | UNPAID AREA
0-03 | PASSAGEWAYS
0-04.1 | TOILET (M)
0-04.2 | TOILET (F)
0-04.3 | TOILET (H)
0-09 | BOH CORRIDOR
PUBLIC STAIRCASE
FIREMEN STAIRCASE
FIRE ESCAPE STAIRCASE
CLOSET FOR GAS CYLINDER
D-01.1 | RELIEF/TVS PLENUM-01
D-01.2 | RELIEF/TVS PLENUM-02
D-01.3 | RELIEF/TVS PLENUM-03
D-03.1 | PRESS., PLMB. & F.F SHAFT
D-03.2 | PLUMBING SHAFT
D-03.3 | PLUMBING SHAFT
D-03.4 | PLUMBING SHAFT
D-04.1 | ELECTRICAL SHAFT
D-04.2 | ELECTRICAL SHAFT
D-05.1 | S & T / BMS SHAFT
D-05.2 | S & T / BMS SHAFT
D-06.1 | HT SHAFT-01
D-06.2 | HT SHAFT-02
D-07.1 | PRESSURIZATION SHAFT
D-07.2 | PRESSURIZATION SHAFT

## Kilpauk Metro (KMC station)
Room Code | Room Name | Category | DLT 10 Line | DLT 20 Line | Feature IP | IP phone | ECB at Platform
A-01 | SCR | CONCOURSE |  | 1 | 1
A-02.1 | EFO/ TOM | CONCOURSE |  |  |  | 1
M-01.1 | TVF ROOM 1 | CONCOURSE
M-01.3 | TVS PANEL/ D.B ROOM-4 | CONCOURSE
M-02.1 | MECHANICAL EQ. ROOM-1 | CONCOURSE |  |  |  | 1
O-06 | LUNCH+LOCKER ROOM | CONCOURSE
P-01.1 | ASS ROOM-01 | CONCOURSE | 1 |  |  | 1
P-01.2 | ASS ROOM-02 | CONCOURSE | 1 |  |  | 1
P-02 | UPS ROOM | CONCOURSE | 1
P-03.3 | DB ROOM 3 | CONCOURSE | 1
P-05 | BATTERY ROOM | CONCOURSE
C-01 | SIGNALING ROOM |  | 1 |  |  | 1
C-02 | COMM. EQ. ROOM |  | 1 |  |  | 1
C-03.1 | TELECOMMUNICATION CLOSET |  |  |  |  | 1
C-03.2 | TELECOMMUNICATION CLOSET |  |  |  |  | 1
M-02.2 | MECHANICAL EQ. ROOM-2 |  |  |  |  | 1
M-06 | AHU ROOM
PUMP ROOM
M-04.1 | SEEWAGE SUMP ROOM
M-04.2 | SEEPAGE SUMP ROOM
O-05 | SECURITY ROOM |  |  |  |  | 1
O-07 | FIREMEN STORE ROOM
O-08 | JANITOR ROOM
P-03.1 | DB ROOM 1 |  | 1
P-03.2 | DB ROOM 2 |  | 1
P-03.5 | DB ROOM 5 |  | 1
P-03.6 | DB ROOM 6 |  | 1
P-03.7 | DB ROOM 7 |  | 1
P-03.8 | DB ROOM 8 |  | 1
CLOSET FOR GAS CYLINDER
VAC+ OTE PLENUM
OTE PLENUM
OTE CUTOUT
FWT-01
FWT-02
DWT-01
DWT-02
0-01.1 | PLATFORM
0-01.2 | PAID AREA
0-02 | UNPAID AREA
0-03 | PASSAGEWAYS
0-04.1 | TOILET (M)
0-04.2 | TOILET (F)
0-04.3 | TOILET (H)
0-09 | BOH CORRIDOR
PUBLIC STAIRCASE
FIRE ESCAPE STAIRCASE
D-01.1 | TVS/RELIEF PLENUM-01
D-01.2 | TVS/RELIEF PLENUM-02
D-01.3 | TVS/RELIEF PLENUM-03
D-01.4 | TVS/RELIEF PLENUM-04
D-01.5 | TVS/RELIEF PLENUM-OS
D-01.6 | TVS/RELIEF PLENUM-06
D-01.7 | TVS/RELIEF PLENUM-07
D-03.1 | PLUMBING & FF SHAFT
D-03. A | PLUMBING & FF SHAFT
D-03.2 | PLUMBING SHAFT
D-03.3 | PLUMBING SHAFT
D-04.1 | ELECTRICAL SHAFT
D-04.lA | ELECTRICAL SHAFT
D-04.2 | ELECTRICAL SHAFT
D-04.2A | ELECTRICAL SHAFT
D-05.1 | S & T / BMS SHAFT
D-05.lA | S & T / BMS SHAFT
D-05.2 | S & T / BMS SHAFT
D-05.2A | S & T / BMS SHAFT
D-06.1 | HT SHAFT-01
D-06.2 | HT SHAFT-02
D-07.1 | PRESSURIZATION SHAFT
D-07. A | PRESSURIZATION SHAFT
D-07.2 | PRESSURIZATION SHAFT
HVAC SHAFT

## Madhavaram Depot Metro
Room Code | Room Name | Category | DLT 10 Line | DLT 20 Line | Feature IP | IP phone | ECB at Platform
A-01 | SCR | CONCOURSE |  | 1 | 1
A-02,A-03,A-04 | EFO/ TICKET ROOM/ TVM |  |  |  |  | 1
C-01 | SIGNALLING EQUIPMENT ROOM |  |  | 1 |  | 1
C-02 | COMMUNICATION EQUIPMENT ROOM |  |  | 1 |  | 1
M-02 | PUMP ROOM
O-04 | SECURITY ROOM |  |  |  |  | 1
O-11 | JANITOR ROOM
O-12 | LUNCH ROOM
P-01.1,P-02.1,P.05/1 | ANCILLARY SUBSTATION ROOM-01 |  | 1 |  |  | 1
P-01.1,P-02.1,P.05/2 | ANCILLARY SUBSTATION ROOM-02 |  | 1 |  |  | 1
P-03 | UPS/ BATTARY ROOM |  | 1
Total
D-02.5 | FHC
D-02.6 | FHC
D-02.7 | FHC
F-01.1 | FIRE TANK-01
F-01.2 | FIRE TANK-02
M-01.1 | DOMESTIC WATER TANK
M-01.2 | TREATED WATER TANK
M-08 | INERT GAS ROOM
M-09 | VENTILATION AND AC EQUIPMENT ROOM
O-02 | PAID AREA
O-03 | UNPAID AREA
O-06.1 | LIFT
O-06.2 | LIFT
O-06.3 | LIFT
O-08F | TOILET (FEMALE)
O-08M | TOILET (MALE)
O-09 | TOILET FOR DIFFERENTLY ABLED
O-28 | STORE ROOM
PD-01 | PROPERTY DEVELOPMENT
PD-02 | PROPERTY DEVELOPMENT